[](https://www.biochem.mpg.de/en)[](https://www.biochem.mpg.de/mann)[](https://github.com/MannLabs/alphamap) py\_diAID User Guide

Developed by: Patricia Skowronek, Eugenia Voytik, Sander Willems, and Matthias Mann.

This step-by-step guide presents instructions for the installation and usage of py\_diAID.

Table of Contents

[Description 1](#_Toc100159324)

[Installation 2](#_Toc100159325)

[Windows 2](#_Toc100159326)

[MacOS 5](#_Toc100159327)

[Linux 5](#_Toc100159328)

[How to use py\_diAID 6](#_Toc100159329)

[Load Library 6](#_Toc100159330)

[Analysis software instructions 7](#_Toc100159331)

[Specify Method Parameters 8](#_Toc100159332)

[Optimization 9](#_Toc100159333)

[Create Method 11](#_Toc100159334)

[Evaluate Method 11](#_Toc100159335)

# Description

Data-independent acquisition coupled with parallel accumulation – serial fragmentation (dia-PASEF) has been gaining increasing traction, amongst proteomics researchers over the last years. dia-PASEF offers comprehensive proteome coverage, a high degree of reproducibility, and quantitative accuracy while using a much higher ion beam proportion than conventional DIA methods. Previous tools generated dia-PASEF methods with equidistant isolation widths and necessitated manual adjustment of the window design to the precursor density cloud. We present py\_diAID, a Python-based package for Data-Independent Acquisition offering an Automated Isolation Design. py\_diAID generates optimal dia-PASEF methods with variable isolation widths adjusted to the precursor density in *m/z* and automatically, optimally placed in the *m/z* – ion mobility (IM) plane. Variable isolation widths enable short acquisition cycles while covering essentially the complete *m/z*-IM-range. We found that the dia-PASEF methods, generated with py\_diAID, are beneficial for optimizing proteomics workflows based on cell lines (HeLa) or clinical samples such as CSF and Plasma, as well as for studying post-translational modifications such as phosphorylation.

We offer py\_diAID as a Python module, command-line interface (CLI) tool, and Graphical User Interface (GUI) on all major operating systems under an Apache 2.0 license. py\_diAID generates dia-PASEF methods with an optimal window design. It also allows for quality control of the precursors’ distribution of a dataset in the *m/z*-IM plane and evaluating the suitability of already existing dia-PASEF methods for the individual experiment.


# Installation

We offer py\_diAID as a browser-based GUI, a stand-alone CLI and a Python package. All modes are also described on the GitHub repository (<https://github.com/MannLabs/pydiaid>).


## Windows

Windows 10 is required to install py\_diAID, and you need admin privileges if you want to run py\_diAID for all users (right-click on the py\_diAID logo on your desktop and select “Run as administrator”). We recommend uninstalling any previous py\_diAID versions before updating py\_diAID to prevent installation errors.


1. Download [the latest release](https://github.com/MannLabs/diaid_pasef/releases) of the package for Windows (pydiaid\_gui\_installer\_windows.exe) from the GitHub repository and execute the .exe file.
2. If the “User Account Control” dialog asks you for permission for the app to make changes to your device, please press the “Yes” button.
3. We recommend selecting “Install for me only (recommended)” if a “Select Setup Install Mode” dialog window shows up.
4. Please accept the License Agreement and click “Next” in the “Setup – py\_diAID version X.X.X” dialog window.




1. In the “Select Additional Tasks” dialog window, activate the “Create a desktop shortcut” check box and click the “Next” button.



1. Check the settings and press “Install”. You can change the setting with the “Back” or “Cancel” button prior to the installation.



1. Please wait until the installation is finished, activate the “Launch py\_diAID” box, and click “Finish”.



1. If a “Window Security Alert” window appears, press “Allow access” to prevent the Windows Defender Firewall from blocking py\_diAID on your PC.

## MacOS

macOS Big Sur (11) pr higher is required to install py\_diAID.


1. Download [the latest release](https://github.com/MannLabs/diaid_pasef/releases) of the package for macOS (pydiaid\_gui\_installer\_macos.pkg) from the GitHub repository and open the .pkg file. In rare cases, an error message shows up, which prevents the file from opening due to insufficient priveleges In this case, you can close the message by clicking “OK”, go to the “Security & Privacy” section of the “System Preferences” menu and press “Open Anyway” at the “General” tab.
2. Click “Continue” on the “Install py\_diAID X.X.X” dialog window.
3. The License sections will show the Software License Agreement (Apache License 2.0). To continue the installation, press "Continue" button, and in the pop-up window you need to agree with the regulations of the license.
4. Please press “Install” to start the installation. This might take several minutes.
5. After the installation is finished, click “Close”. py\_diAID is now available in the applications folder on your MacOS.

## Linux

y\_diAID can be used with Linus by installing it as a Debian package, which requires the [Apache License](https://github.com/MannLabs/pydiaid/blob/main/LICENSE.txt) 2.0’s acceptance.

1. Download [the latest release](https://github.com/MannLabs/diaid_pasef/releases) of the package for Linux (pydiaid\_gui\_installer\_linux.deb) from the GitHub repository.
2. Run the installer either by double clicking it, or by executing the command <*sudo dpkg -i pydiaid\_gui\_installer\_linux.deb*> (copy everything between <>).


# How to use py\_diAID



Launching py\_diAID opens a terminal window displaying all the background information of py\_diAID and a new browser tab called “py\_diAID X.X.X” in your default browser. py\_diAID can be terminated by either closing the tab or pressing “Ctrl+c” in the running terminal window.

We advise using either Google Chrome or Mozilla Firefox for optimal performance. However, the tool itself does not require an internet connection since py\_diAID runs on your local system.


## Load Library



* Provide the file path to the library (*i.e.* proteomics dataset) analyzed by AlphaPept, MaxQuant, Spectronaut or FragPipe. **Note:** Specify the software in the drop-down menu “Analysis software”.
* Specify the distinctive characters of the post-translational modification that interests you. This function filters the modified peptide name column for the specified characters. For Spectronaut, “STY” would be suitable for filtering phosphopeptide precursors and FragPipe “UniMod:28”.
* The following setting will be applied to all plots that are generated by py\_diAID: “Plot I-range” and “Plot ion mobility-range” indicate the limits of the *m/z* and ion mobility axis in all plots. py\_diAID calculates and plots kernel density estimations to display the precursor distribution. The “Number of bins” has an influence on the resolution of these plots. We recommend 50 bins for time efficiency and, for sharper figures, a resolution of up to 300 bins. However, this will take up to 30 minutes. “Transparency”, “Frame color”, and “Color” are properties of the dia-PASEF windows that are plotted to visualize the dia-PASEF methods.

A test library can be found on the following path: <*py\_diAID installation directory>*\pydiaid\pydiaid\static\AlphaPept\_results.csv. It represents a 200ng tryptic HeLa digest acquired with 21-minute Evosep gradients and dda-PASEF.


Press the “Upload Library” button to visualize the precursor distribution of the library/dataset with a histogram over *m/z*, a kernel density plot, and the charge state ratios. This is the only mandatory step to execute the “create” and “evaluate” buttons.



## Analysis software instructions

* *AlphaPept:* Please use the **results.csv** file. py\_diAID uses the columns “q\_value”, “decoy”, “mz”, “mobility”, “charge”, “protein”, and “precursor”.
* *MaxQuant:* Please use the **evidence.txt** file. py\_diAID uses the columns “Reverse”, “Potential contamination”, “m/z”, “1/K0”, “Charge”, “Proteins”, and “Modified sequence”.
* *Spectronaut single-run:* Please export the dataset in the **normal long** format already pre-filtered with “Quantification Data Filtering” and “No Decoy” as .tsv or .csv file. py\_diAID requires the columns “'FG.PrecMzCalibrated”, “FG.ApexIonMobility”, “FG.Charge”, “PG.ProteinGroups”, and “EG.PrecursorId”.
* *Spectronaut library:* Please export the library as an**.xls file**. py\_diAID requires the columns “PrecursorMz”, “IonMobility”, “PrecursorCharge”, “UniProtIds”, and “ModifiedPeptide”.
* *FragPipe:* The dataset should be analyzed while spectral library generation is active. Upload the **library.tsv** file. py\_diAID will use the columns “PrecursorMz”, “PrecursorIonMobility”, “PrecursorCharge”, “ProteinId”, and “ModifiedPeptideSequence”.


## Specify Method Parameters




The following parameters define the optimal dia-PASEF method:

* ***m/z*-range:** Variable isolation windows enable the coverage of a wide *m/z*-range while keeping the cycle time short. Additionally, we found a strong correlation between theoretical and empirical precursor coverage. Therefore, we recommend using wide *m/z*-ranges for generating dia-PASEF methods.
* **Ion mobility range:** we recommend a reduced IM range.
* **Number of dia-PASEF scans:** The number of dia-PASEF scans influences the cycle time. Since the ramp and accumulation time is set to 100ms by default, you can calculate the cycle time as follows: 100 ms (for each MS1 scan) + 100 ms x number of dia-PASEF scans + additional transfer time. We recommend 8 dia-PASEF scans for 11 min Evosep gradients, 12 dia-PASEF scans for 21 min Evosep gradients, and 25 dia-PASEF scans for 44 min Evosep gradients (see “Rapid and in-depth coverage of the (phospho-)proteome with deep libraries and optimal window design for dia-PASEF” “Experimental procedures” – available soon on bioRxiv).
* **Number of ion mobility windows / dia-PASEF scans:** One dia-PASEF scan can be separated into multiple ion mobility windows. The number of ion mobility windows defines how often the quadrupole changes its position. For two ion mobility windows per dia-PASEF scan, the quadrupole changes once its isolation window during one dia-PASEF scan. We recommend two ion mobility windows per dia-PASEF scan since this results in the highest precursor coverage based on simulations and in higher peptide identifications (see “Rapid and in-depth coverage of the (phospho-)proteome with deep libraries and optimal window design for dia-PASEF” ”Suppl. Figure S5”– available soon on bioRxiv).
* **Isolation window overlap:** This value defines the overlap in Da. We recommend no isolation window overlap for short cycle times.
* **Shift of the final acquisition scheme (in IM dimension**)**:** The dia-PASEF acquisition scheme will be optimized for a maximized theoretical precursor coverage. However, in practice, the quadrupole has a blind spot while changing to the isolation width of the next ion mobility window during one dia-PASEF scan. This blind spot results in missed precursors in the top ion mobility window region. The blind spot has an ion mobility height of approximately 0.022 1/K0. Therefore, we recommend to shift the final acquisition scheme upwards by 0.022 1/K0 to not miss signal in the densest doubly charged precursor cloud.

Press “calculate” to activate all settings and to calculate the precursors, which fall within the selected scan area defined by the *m/z*- and IM ranges.




## Optimization




py\_diAID calculates the isolation window width based on the precursor distribution in *m/z.* The position of the isolation windows in the *m/z* and IM plane is dependent on a trapezoid that reflects the scan area. py\_diAID selects a set of random A1, A2, B1, and B2 coordinates that define the corners of the trapezoid. A1, A2, B1, and B2 coordinates must lie within the respective ranges. Next, it generates a dia-PASEF method based on the placement of the trapezoid and the specified method parameters. This step is followed by the evaluation of the developed dia-PASEF method. Depending on the evaluation result, py\_diAID decides which trapezoid coordinates should be attempted next, to find the optimal precursor coverage. The decision is based on a Bayesian optimization following a Gaussian process offered by the skopt package. A detailed description of the py\_diAID algorithm can be found here: “Rapid and in-depth coverage of the (phospho-)proteome with deep libraries and optimal window design for dia-PASEF” Suppl. Figure S6 – available soon on bioRxiv.

* **Number of iterative optimization steps:** This value defines the number of iterations to find the optimal position of the dia-PASEF acquisition scheme.
* **Number of starting points**: The algorithm initially tries out multiple random sets of coordinates until it considers the evaluation results to decide which parameters are reasonable to try next. **“**Number of starting points” defines the number of this initial random set. We recommend 200 iterative optimization steps and 20 starting points for a result that provides 99.2% reproducibility (see “Rapid and in-depth coverage of the (phospho-)proteome with deep libraries and optimal window design for dia-PASEF” Suppl. Figure S7 – available soon on bioRxiv).
* **Evaluation parameter:** py\_diAID can use different factors to evaluate the coverage of the dia-PASEF methods. “Number of covered precursors” includes all precursors except singly charged precursors and is recommended.
* **A1/A2/B1/B2 range:** The coordinates A1, A2, B1, B2 of the trapezoid are selected from within these ranges.

Press the “Optimize” button to start the optimization process. py\_diAID needs approximately 15 minutes for 200 iterative optimization steps. You can supervise all optimization steps after the optimization process is finished using the built-in player.




## Create Method




py\_diAID writes the optimal trapezoid coordinates in the file “Scan area A1/A2/B1/B2”. You can also skip the optimization process and replace these coordinates with different coordinates if you already have coordinates from a previous optimization process.

Press the “Create” button to generate the final dia-PASEF method based on the specified trapezoid coordinates. py\_diAID shifts this method upwards in the IM by the value specified in “Shift of the final acquisition scheme”.



## Evaluate Method



py\_diAID writes the file path of the final acquisition scheme automatically in the field “Specify the path to the method file”. You can also define an individual path to evaluate if an already existing dia-PASEF method is suitable for your experiment, based on the previously loaded library.

Press the “Evaluate” button to display the result of the evaluation

