## Slide 1
The Equatorial Pattern from Muscle

## Slide 2
Myofibrils and Sarcomeres
A myofibril consists of many 2-3 micron long sarcomeres laid end to end
In the light microscope, sarcomeres show a banding pattern (striations)
A-band, I band, Z-line, and M-line, H-zone
Underlying structure can be seen only at electron microscope level

## Slide 3
Sarcomeres
11-9
Sarcomere consists of actin containing thin filaments
Myosin containing thick filaments
I band contains only thin filaments
H-zone only thick
A-band both thick and thin
Projections on the thick filament (crossbridges) interact with the thin filament and cause sarcomeres to shorten

## Slide 4: “Sliding Filaments”

## Slide 5
Thin filaments near Z band
Thick and thin filaments overlapping in A-band
Cross-sections of a sarcomere showing 2-D crystalline structure
Thick filaments Only in H-zone

## Slide 6: Hexagonal Lattice
u
x
y
a

b

a

b


## Slide 7: Ewald Sphere
2 
1
h a*
k a*

For every lattice in real space there is a corresponding lattice in “recripocal” i.e. diffraction space. Distances between lattice points are proportional to 1/lattice dimensions in real space. The origin of the reciprocal lattice is at O. Lattice points (corresponding to diffraction spots one can observe) are indexed by Miller indices h and k
O

## Slide 8: End on view of hexagonal reciprocal lattice
This was taken by shining the X-ray beam down the axis of a muscle myofibril.(one crystallite)
Not the way we normally do it.

## Slide 9
X-rays
Fiber Cross-section
Diffraction
Complete Statistical rotation:
1,0 = 1,0 = 0,1 = 0,-1
1,1 = 1,1=1,1 = 1,-1
Myofibrils are at random orientations around the long axis of the muscle fiber

## Slide 10: Equatorial pattern from insect muscle
We are looking at projection of hexagonal lattice onto a plane. Insect muscle is highly ordered so you get lots of sharp spots along the equator.
Note that they vary in intensity
Equator

## Slide 11
undulator X-ray source
(electrons)
evacuated flight tube
(X-ray reflections)
CCD
detector
muscle
bath
mirror
X-rays
inverted
microscope
1,0
1,1
actin
myosin



d
X-rays
A
B
C
diff.
AB=BC=d10 sin 
X-rays
F
2
D
Experimental arrangement of the BioCAT undulator beam line for X-ray diffraction
2sin  = n/d
2sin  = D/(D2+F2)1/2
d = (n(D2+F2)1/2/D)/2
inter-thick filament spacing = d*(2/3)

## Slide 12: Calculating d10
Braggs Law
nλ = 2dsinθ
θ is the Bragg angle where 2 is the angle between the diffracted and incident beam
At small angles
Θ = D/2L so that
nλ = 2dD/2L
Or
d=nλL/D
So d, the spacing between the diffracting planes is inversely proportional to D, the distance from the origin of the diffraction pattern to a diffraction spot

## Slide 13: Hexagonal pattern selection rule
The distances from the center of the pattern to each of the outer reflections (Sh,k) are related to the distance from the center to the first strong 1,0 reflection, S10, by Sh,k = S10√(h2 + k2 + hk) where h and k are the Miller indices of each reflection. Notice that several combinations of h and k values will give rise to the same Sh,k meaning that X-ray reflections will superimpose.

## Slide 14: Estimating lattice disorder parameters from peak widths
The width of the Gaussian representing a given diffraction peak σh,k can be expressed as
σh,k = √(σc2+ σd2Shk + σs2Shk2) where Shk = √(h2 + k2 + hk). σc is the known width of the X-ray beam, σd is related to the amount of heterogeneity in inter-filament spacing among the myofibrils, and σs is related to the amount of paracrystalline (liquid-like) disorder of the myofilaments in the hexagonal lattice.
These are all interesting physiological paramaters

## Slide 15: Equatorial Intensities
If crossbridges move away from the thick filament backbone towards the thin filament
Mass leaves the 1,0 plane and joins 2,0
I2,0/I1,0 goes up
UseI2,0/I1,0 as a measure of degree of association crossbridges with thin filament
In vertebrate muscle use I1,1/I1,0 instead