## Iso Report (Torr)
[10 empty] | 1 | 10 | RVP_=_PP
15
DVS Isotherm Analysis Report (Torr)
0
| Date: | UTC 16:00:55 2021-0 | [7 empty] | -48.3452
| Time: | +01:0
| File: | C:\Users\User\Documents\analysis\PI\bubbler\bubbler MIL-101Cr H2O 03-02-2021 15-58-46.xlsb
| Meth: | general ads-des 10pc
| Sample: | MIL-101Cr
| Temp: | 30.0 °C
| MRef: | 8.3332 from Mass at end of first 0.0 P/Po stage
|  | Target | Actual | Sorp Mass | Actual | Desorp Mass
|  | Pres. | Pres. | Change (%) | Pres. | Change (%) | Hysteresis
| Cycle 1 | 0 | 2.643e-06 | 0 | 0.00048494 | 4.9798
|  | 76 | 75.6632 | 9.995 | 76.0315 | 11.975 | 1.98
|  | 152 | 152.0082 | 12.9148 | 152.1463 | 15.0578 | 2.143
|  | 228 | 228.0177 | 15.7927 | 227.9388 | 18.6039 | 2.8112
|  | 304 | 304.1194 | 21.5015 | 304.1128 | 23.614 | 2.1125
|  | 380 | 380.254 | 44.5298 | 380.0501 | 95.5352 | 51.0054
|  | 456 | 456.0796 | 96.7143 | 456.0796 | 100.7565 | 4.0421
|  | 532 | 532.1093 | 102.4684 | 532.1159 | 102.8676 | 0.39913
|  | 608 | 608.1392 | 106.9937 | 608.1786 | 106.6997 | -0.294
|  | 684 | 683.8668 | 112.701 | 683.8668 | 112.701
DVS from SMS - World leader in Sorption Science | [7 empty] | © Surface Measurement Systems Ltd 1996-2018

## DVS Data
DVS-Vacuum-Data-File
File Version: | 1.2
Sequence Name: | N/A
Sequence Created: | N/A
Method Name: | general ads-des 10pc
Method Created: | 2021-02-03 16:00:38 UTC +01:00
Method Modified: | YES
Sample Number: | 1
Sample Name: | MIL-101Cr
Sample Description:
Initial Mass [mg]: | 4.3045
Raw Data File Created: | 2021-02-03 16:00:55 UTC +01:00
User Name: | User
Data Saving Interval [seconds]: | 1
Vapour: | Bubbler
Vapour Pressure [Torr]: | 760
Control Mode: | Dynamic
Data Points | 404262
Data Start Row | 43
First Dry Row | 43
First Post Dry Row | 26270
Data File Setting - Tare Option
Data File Setting - Dry Mass Option
Data File Setting - M0 Value
Ref. Mass Option | Mass at end of first 0.0 P/Po stage
Ref. Mass | 8.3332
ImportByDLLSeries | S2 (v1.1.0.0)
Method Stage Skipped: | YES
Method Skipped: | N/A
Method Status: | Completed
Counterweight [mg]: | 0
Slave Preheater Used: | YES
Chiller Used: | NO
Auxiliary Probe Used: | NO
Time [minutes] | Mass [mg] | Delta Mass [%] | dm/dt [%/minute] | Target Incubator Temperature [°C] | Actual Incubator Temperature [°C] | Target Preheater Temperature [°C] | Actual Preheater Temperature [°C] | Target Relative Pressure [%] | Actual Relative Pressure [%] | Target Pressure [Torr] | Actual Pressure [Torr] | Vacuum Pressure [Torr] | Low Pressure [Torr] | High Pressure [Torr] | Target Vapour Flow [sccm] | Actual Vapour Flow [sccm] | Target Gas Flow [sccm] | Actual Gas Flow [sccm] | Target Chiller Temperature [°C] | Actual Chiller Internal Temperature [°C] | Actual Chiller External Temperature [°C] | Actual Slave Preheater Temperature [°C] | dm (%) - ref |  |  | Target RH (%)/100 | Actual RH (%)/100 |  |  |  |  | Valve Position [%] | Chiller State | Auxiliary Probe Temperature [°C]
0 | 9.4557 | 219.6701 | 1.2417 | 30 | 30.9 | 150 | 33.3 | 0 | 2.3313e-05 | 0 | 0.00017718 | 0.00017718 | 0 | 0 | 0 | 0 | 0 | 0.44445 | -10 | 0 | 0 | 31.6 | 13.4702 | 0 | 0 | 0 | 2.3313e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.02 | 9.4544 | 219.6399 | 1.2419 | 30 | 30.9 | 150 | 33.3 | 0 | 1.6161e-05 | 0 | 0.00012282 | 0.00012282 | 0 | 0 | 0 | 0 | 0 | 0.87887 | -10 | 0 | 0 | 31.6 | 13.4546 | 0 | 0 | 0 | 1.6161e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.03 | 9.4543 | 219.6376 | 1.242 | 30 | 30.9 | 150 | 33.3 | 0 | 9.6433e-06 | 0 | 7.3289e-05 | 7.3289e-05 | 0 | 0 | 0 | 0 | 0 | 0.67482 | -10 | 0 | 0 | 31.6 | 13.4534 | 0 | 0 | 0 | 9.6433e-08 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.05 | 9.4533 | 219.6144 | 1.2422 | 30 | 30.9 | 150 | 33.3 | 0 | 9.7313e-06 | 0 | 7.3958e-05 | 7.3958e-05 | 0 | 0 | 0 | 0 | 0 | 0.75381 | -10 | 0 | 0 | 31.6 | 13.4414 | 0 | 0 | 0 | 9.7313e-08 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.07 | 9.4523 | 219.5911 | 1.2424 | 30 | 30.9 | 150 | 33.3 | 0 | 1.6358e-05 | 0 | 0.00012432 | 0.00012432 | 0 | 0 | 0 | 0 | 0 | 0.35889 | -10 | 0 | 0 | 31.6 | 13.4294 | 0 | 0 | 0 | 1.6358e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.08 | 9.452 | 219.5842 | 1.2425 | 30 | 30.9 | 150 | 33.3 | 0 | 2.1064e-05 | 0 | 0.00016008 | 0.00015673 | 0 | 0 | 0 | 0 | 0 | 0.54318 | -10 | 0 | 0 | 31.6 | 13.4258 | 0 | 0 | 0 | 2.1064e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.1 | 9.4513 | 219.5679 | 1.2427 | 30 | 30.9 | 150 | 33.3 | 0 | 1.3702e-05 | 0 | 0.00010414 | 0.00010414 | 0 | 0 | 0 | 0 | 0 | 0.37863 | -10 | 0 | 0 | 31.6 | 13.4174 | 0 | 0 | 0 | 1.3702e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.12 | 9.451 | 219.5609 | 1.2427 | 30 | 30.9 | 150 | 33.3 | 0 | 9.3556e-06 | 0 | 7.1103e-05 | 7.1103e-05 | 0 | 0 | 0 | 0 | 0 | 0.5366 | -10 | 0 | 0 | 31.6 | 13.4138 | 0 | 0 | 0 | 9.3556e-08 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.13 | 9.4501 | 219.54 | 1.2429 | 30 | 30.9 | 150 | 33.3 | 0 | 1.0323e-05 | 0 | 7.8457e-05 | 7.8457e-05 | 0 | 0 | 0 | 0 | 0 | 0.82621 | -10 | 0 | 0 | 31.6 | 13.403 | 0 | 0 | 0 | 1.0323e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.15 | 9.4491 | 219.5168 | 1.243 | 30 | 30.9 | 150 | 33.2 | 0 | 1.9977e-05 | 0 | 0.00015182 | 0.00015182 | 0 | 0 | 0 | 0 | 0 | 0.99734 | -10 | 0 | 0 | 31.6 | 13.391 | 0 | 0 | 0 | 1.9977e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.17 | 9.4488 | 219.5098 | 1.2432 | 30 | 30.9 | 150 | 33.2 | 0 | 1.575e-05 | 0 | 0.0001197 | 0.0001197 | 0 | 0 | 0 | 0 | 0 | 0.58926 | -10 | 0 | 0 | 31.6 | 13.3874 | 0 | 0 | 0 | 1.575e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.19 | 9.4477 | 219.4843 | 1.2434 | 30 | 30.9 | 150 | 33.2 | 0 | 1.8604e-05 | 0 | 0.00014139 | 0.00014139 | 0 | 0 | 0 | 0 | 0 | 0.62875 | -10 | 0 | 0 | 31.6 | 13.3742 | 0 | 0 | 0 | 1.8604e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
0.2 | 9.447 | 219.468 | 1.2435 | 30 | 30.9 | 150 | 33.2 | 0 | 2.1385e-05 | 0 | 0.00016253 | 0.00016253 | 0 | 0 | 0 | 0 | 0 | 0.75381 | -10 | 0 | 0 | 31.6 | 13.3658 | 0 | 0 | 0 | 2.1385e-07 | 0 | 0 | 0 | 0 | 100 | ON | 0
WARNING | Kinetics data removed to keep file size manageable