## Design clusters - fleetleaders
Site | Asset | Design cluster | Fleetleader?

## Results
Short description/name | Description | data | [8 empty] | Additional data (JSON) | Links
|  | data_1 |  |  | data_2 |  |  | data_3 |  |  |  | Analysis | Site | Location | Related object
|  | name | units | data (float) | name | units | data (float) | name | units | data (float)
Lifetime - Wind Overview
Design | As-designed windspeed distribution as specified in XX | [11 empty] | Site
WTG1 - Y1 | As measured distribution for location WTG1 - Y1 | [12 empty] | WTG1
WTG2 - Y1 | As measured distribution for location WTG2 - Y1 | [12 empty] | WTG2
Lifetime - Design frequencies
INFL | [13 empty] | BBA01
Title | Description | Scope | u_avg | distribution | Parameter 1 | Parameter 2 | Parameter 3
Design | As-designed windspeed distribution as specified in XX | Site | 8.6 | wbl | 2.27 | 9.71 | n/A
WTG1 - Y1 | As measured distribution for location WTG1 - Y1 | WTG1 | 7.5 | wbl | 2.13 | 8.48 | n/A
WTG2 - Y1 | As measured distribution for location WTG2 - Y1 | WTG2 | 7.9 | wbl | 2.16 | 8.97 | n/A
Turbine | Reference | FA1 [Hz] | SS1 [Hz] | FA2 [Hz] | SS2 [Hz]
BBA01 | INFL | 0.3406 | 0.3407 | 1.0172 | 1.0186
BBA01 | ACTU | 0.333 | 0.3332 | 0.9619 | 0.9631
BBA01 | FLEX | 0.3254 | 0.3255 | 0.9019 | 0.903

## Lifetime-Wind overview
Title | Description | Scope | u_avg | distribution | Parameter 1 | Parameter 2 | Parameter 3
Design | As-designed windspeed distribution as specified in XX | Site | 8.6 | wbl | 2.27 | 9.71 | n/A
WTG1 - Y1 | As measured distribution for location WTG1 - Y1 | WTG1 | 7.5 | wbl | 2.13 | 8.48 | n/A
WTG2 - Y1 | As measured distribution for location WTG2 - Y1 | WTG2 | 7.9 | wbl | 2.16 | 8.97 | n/A

## Lifetime - Wind Histogram
Wind speed histogram [m/s]
Title | Description | Scope | [0,1[ | [1,2[ | [2,3[ | [3,4[ | [4,5[ | [5,6[ | [6,7[ | [7,8[ | [8,9[ | [9,10[ | [10,11[ | [11,12[ | [12,13[ | [13,14[ | [14,15[ | [15,16[ | [16,17[ | [17,18[ | [18,19[ | [19,20[ | [20,21[ | [21,22[ | [22,23[ | [23,24[ | [24,25[ | [25,26[ | [26,27[ | [27,28[ | [28,29[ | [29,30[ | [30,31[ | [31,32[ | [32,33[ | [33,34[ | [34,35[ | [35,36[ | [36,37[ | [37,38[ | [38,39[ | [39,40[ | [40,41[ | [41,42[ | [42,43[ | [43,44[ | [44,45[ | [45,46[ | [46,47[ | [47,48[ | [48,49[ | [49,50[
Design | As-designed windspeed distribution as specified in XX | Site | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WTG1 - Y1 | As measured distribution for location WTG1 - Y1 | WTG1 | 50 | 49 | 48 | 47 | 46 | 45 | 44 | 43 | 42 | 41 | 40 | 39 | 38 | 37 | 36 | 35 | 34 | 33 | 32 | 31 | 30 | 29 | 28 | 27 | 26 | 25 | 24 | 23 | 22 | 21 | 20 | 19 | 18 | 17 | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
WTG2 - Y1 | As measured distribution for location WTG2 - Y1 | WTG2 | 1 | 1 | 2 | 3 | 3.5 | 4.2 | 4.9 | 5.6 | 6.3 | 7 | 7.7 | 8.4 | 9.1 | 9.8 | 10.5 | 11.2 | 11.9 | 12.6 | 13.3 | 14 | 14.7 | 15.4 | 16.1 | 16.8 | 17.5 | 18.2 | 18.9 | 19.6 | 20.3 | 21 | 21.7 | 22.4 | 23.1 | 23.8 | 24.5 | 25.2 | 25.9 | 26.6 | 27.3 | 28 | 28.7 | 29.4 | 30.1 | 30.8 | 31.5 | 32.2 | 32.9 | 33.6 | 34.3 | 35
WTG1 - Y2 | As measured distribution for location WTG1 - Y1 | WTG1 | 50 | 49 | 48 | 47 | 46 | 45 | 44 | 43 | 42 | 41 | 40 | 39 | 38 | 37 | 36 | 35 | 34 | 33 | 32 | 31 | 30 | 29 | 28 | 27 | 26 | 25 | 24 | 23 | 22 | 21 | 20 | 19 | 18 | 17 | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
WTG2 - Y2 | As measured distribution for location WTG2 - Y1 | WTG2 | 1 | 1 | 2 | 3 | 3.5 | 4.2 | 4.9 | 5.6 | 6.3 | 7 | 7.7 | 8.4 | 9.1 | 9.8 | 10.5 | 11.2 | 11.9 | 12.6 | 13.3 | 14 | 14.7 | 15.4 | 16.1 | 16.8 | 17.5 | 18.2 | 18.9 | 19.6 | 20.3 | 21 | 21.7 | 22.4 | 23.1 | 23.8 | 24.5 | 25.2 | 25.9 | 26.6 | 27.3 | 28 | 28.7 | 29.4 | 30.1 | 30.8 | 31.5 | 32.2 | 32.9 | 33.6 | 34.3 | 35

## Lifetime - Design verification
timestamp | Turbine | FA1 (Hz) | SS1 (Hz) | SS2 (Hz) | FA2 (Hz)
2023-03-20 07:41:00+00:00 | BBA01 | 0.356 | 0.357 | 1.342 | 1.501
2019-03-26 14:02:00+00:00 | BBA01 | 0.355 | 0.356 | 1.326 | 1.526
2019-03-26 14:52:00+00:00 | BBA02 | 0.357 | 0.352 | 1.343 | 1.529
2024-03-18 10:19:00+00:00 | BBA03 | 0.361 | 0.366 | 1.371 | 1.477
2019-03-26 15:41:00+00:00 | BBA03 | 0.354 | 0.355 | 1.338 | 1.528
2025-03-20 14:16:00+00:00 | BBA03 | 0.361 | 0.362 | 1.344 | 1.476
2022-03-15 12:48:00+00:00 | BBA04 | 0.357 | 0.353 | 1.404
2019-03-26 16:38:00+00:00 | BBA04 | 0.35 | 0.348 | 1.341 | 1.536
2024-03-18 12:21:00+00:00 | BBA05 | 0.367 | 0.369 | 1.512 | 1.598
2019-03-27 07:41:00+00:00 | BBA05 | 0.366 | 0.368 | 1.472 | 1.506
2024-03-18 13:09:00+00:00 | BBA06 | 0.366 | 0.371 | 1.508 | 1.587
2019-03-27 08:36:00+00:00 | BBA06 | 0.365 | 0.364 | 1.503 | 1.566
2019-03-27 09:31:00+00:00 | BBA07 | 0.367 | 0.362 | 1.468 | 1.574
2019-03-27 10:36:20+00:00 | BBA08 | 0.362 | 0.358 | 1.436 | 1.562
2025-03-04 07:52:00+00:00 | BBA08 | 0.368 | 0.366
2025-03-04 08:46:00+00:00 | BBA09 | 0.359 | 0.363
2019-03-27 12:00:40+00:00 | BBA09 | 0.361 | 0.355 | 1.361 | 1.447
2019-03-27 12:55:00+00:00 | BBA10 | 0.356 | 0.357 | 1.269
2021-03-24 08:29:00+00:00 | BBB01 | 0.366 | 0.357 | 1.429
2021-03-24 09:35:00+00:00 | BBB02 | 0.361 | 0.365 | 1.452 | 1.567
2022-03-15 08:58:00+00:00 | BBB03 | 0.369 | 0.366 | 1.431 | 1.488
2021-03-24 10:59:00+00:00 | BBB04 | 0.364 | 0.365 | 1.45 | 1.561
2021-03-24 12:51:00+00:00 | BBB05 | 0.365 | 0.368 | 1.519 | 1.599
2025-03-04 10:33:00+00:00 | BBB06 | 0.378 | 0.37 | 1.651 | 1.719
2020-09-16 06:57:00+00:00 | BBB06 | 0.373 | 0.377 | 1.624 | 1.697
2020-09-16 07:55:00+00:00 | BBB07 | 0.375 | 0.379 | 1.666 | 1.725
2025-03-04 09:45:00+00:00 | BBB07 | 0.375 | 0.38 | 1.676 | 1.756
2022-03-22 12:06:00+00:00 | BBB08 | 0.369 | 0.371 | 1.508 | 1.598
2018-10-04 09:07:00+00:00 | BBB08 | 0.362 | 0.365 | 1.505 | 1.588
2023-03-29 06:16:00+00:00 | BBB09 | 0.363 | 0.37 | 1.409
2018-10-04 10:16:40+00:00 | BBB09 | 0.362 | 0.364 | 1.435 | 1.491
2019-03-27 13:54:00+00:00 | BBB10 | 0.355 | 0.352 | 1.322
2024-03-14 08:00:00+00:00 | BBB10 | 0.348 | 0.35 | 1.313 | 1.466
2020-09-16 09:29:00+00:00 | BBC01 | 0.371 | 0.373 | 1.509 | 1.594
2020-09-16 11:16:00+00:00 | BBC02 | 0.37 | 0.37 | 1.469 | 1.559
2024-03-14 12:27:00+00:00 | BBC02 | 0.37 | 0.373 | 1.488 | 1.579
2020-09-16 12:52:00+00:00 | BBC03 | 0.372 | 0.373 | 1.528 | 1.619
2020-09-16 13:52:00+00:00 | BBC04 | 0.375 | 0.37 | 1.586 | 1.665
2025-03-04 12:15:00+00:00 | BBC05 | 0.375 | 0.375 | 1.707 | 1.662
2020-09-21 07:34:00+00:00 | BBC05 | 0.374 | 0.374 | 1.649 | 1.705
2025-03-04 13:06:00+00:00 | BBC06 | 0.374 | 0.377 | 1.793 | 1.708
2020-09-21 08:33:00+00:00 | BBC06 | 0.378 | 0.376 | 1.706 | 1.765
2020-09-21 09:49:00+00:00 | BBC07 | 0.373 | 0.373 | 1.612 | 1.689
2020-09-21 11:40:00+00:00 | BBC08 | 0.375 | 0.373 | 1.636 | 1.708
2020-09-21 12:39:00+00:00 | BBC09 | 0.37 | 0.369 | 1.529 | 1.62
2018-10-04 11:15:00+00:00 | BBC09 | 0.367 | 0.369 | 1.557 | 1.626
2022-03-24 13:07:00+00:00 | BBC10 | 0.366 | 0.366 | 1.566 | 1.646
2019-03-27 14:47:00+00:00 | BBC10 | 0.366 | 0.365 | 1.557 | 1.62
2023-03-29 12:09:00+00:00 | BBD01 | 0.372 | 0.367 | 1.577 | 1.681
2018-11-22 14:48:20+00:00 | BBD01 | 0.368 | 0.369 | 1.585 | 1.663
2022-03-25 14:22:00+00:00 | BBD01 | 0.371 | 0.372 | 1.59 | 1.667
2023-03-29 11:11:00+00:00 | BBD02 | 0.369 | 0.37 | 1.571 | 1.651
2018-11-22 13:45:00+00:00 | BBD02 | 0.368 | 0.368 | 1.55 | 1.648
2018-11-22 12:45:00+00:00 | BBD03 | 0.36 | 0.36 | 1.518 | 1.623
2024-03-14 10:55:00+00:00 | BBD03 | 0.34 | 0.335 | 1.545 | 1.642
2025-03-20 12:03:00+00:00 | BBD03 | 0.354 | 0.352 | 1.535 | 1.633
2024-04-08 10:47:00+00:00 | BBD03 | 0.354 | 0.351 | 1.514 | 1.614
2023-03-29 09:33:00+00:00 | BBD04 | 0.381 | 0.387 | 1.825 | 1.859
2018-11-22 11:26:00+00:00 | BBD04 | 0.382 | 0.381 | 1.784 | 1.861
2018-11-22 10:13:20+00:00 | BBD05 | 0.372 | 0.376 | 1.646 | 1.712
2024-03-14 09:45:00+00:00 | BBD05 | 0.375 | 0.377 | 1.686 | 1.752
2021-04-14 09:40:00+00:00 | BBD06 | 0.373 | 0.374 | 1.585 | 1.662
2025-03-04 13:56:00+00:00 | BBD06 | 0.374 | 0.372 | 1.64 | 1.606
2021-04-14 08:49:00+00:00 | BBD07 | 0.365 | 0.364 | 1.529 | 1.616
2023-03-29 07:55:00+00:00 | BBD08 | 0.365 | 0.364 | 1.52 | 1.595
2014-11-05 11:20:00+00:00 | BBD08 | 0.368 | 0.361 | 1.485 | 1.58
2018-10-04 08:16:40+00:00 | BBD08 | 0.359 | 0.364 | 1.518 | 1.598
2014-11-05 10:20:00+00:00 | BBD09 | 0.368 | 0.376 | 1.656 | 1.73
2023-03-29 07:10:00+00:00 | BBD09 | 0.374 | 0.376 | 1.676 | 1.747
2018-10-04 12:00:00+00:00 | BBD09 | 0.373 | 0.38 | 1.716 | 1.763
2025-03-20 13:17:00+00:00 | BBD10 | 0.372 | 0.371 | 1.556 | 1.635
2014-11-05 09:10:00+00:00 | BBD10 | 0.366 | 0.365 | 1.535 | 1.604
2018-10-04 13:55:00+00:00 | BBD10 | 0.369 | 0.371 | 1.567 | 1.635
2025-03-20 10:41:00+00:00 | BBE01 | 0.358 | 0.355
2020-09-21 13:52:00+00:00 | BBE01 | 0.357 | 0.363 | 1.261 | 1.352
2022-03-25 13:12:00+00:00 | BBE02 | 0.363 | 0.363 | 1.358
2022-03-25 12:18:00+00:00 | BBE03 | 0.363 | 0.37 | 1.422
2021-04-14 13:10:00+00:00 | BBE03 | 0.364 | 0.362 | 1.351
2022-03-25 10:22:00+00:00 | BBE04 | 0.363 | 0.366 | 1.391
2021-04-16 12:49:00+00:00 | BBE04 | 0.36 | 0.358 | 1.311
2021-04-16 13:47:00+00:00 | BBE05 | 0.363 | 0.363 | 1.446
2021-04-16 14:40:00+00:00 | BBE06 | 0.37 | 0.37 | 1.556 | 1.638
2022-03-25 08:13:00+00:00 | BBE07 | 0.375 | 0.378 | 1.677 | 1.72
2018-10-04 07:20:00+00:00 | BBE08 | 0.371 | 0.369 | 1.565 | 1.64
2023-03-29 08:43:00+00:00 | BBE08 | 0.368 | 0.377 | 1.578 | 1.641
2018-10-04 13:02:30+00:00 | BBE09 | 0.367 | 0.362 | 1.584 | 1.647
2023-03-03 14:40:00+00:00 | BBE09 | 0.367 | 0.367 | 1.565 | 1.646
2019-03-27 15:37:00+00:00 | BBE10 | 0.375 | 0.374 | 1.648 | 1.702
2024-03-14 08:53:00+00:00 | BBE10 | 0.376 | 0.375 | 1.682 | 1.754
2019-03-26 12:58:20+00:00 | BBF01 | 0.343 | 0.345 | 1.317 | 1.539
2025-03-21 08:34:00+00:00 | BBF01 | 0.336 | 0.343 | 1.295 | 1.351
2022-03-22 14:08:00+00:00 | BBF01 | 0.343 | 0.345 | 1.303 | 1.354
2019-03-26 11:36:00+00:00 | BBF02 | 0.363 | 0.364 | 1.473 | 1.577
2024-03-14 14:20:00+00:00 | BBF02 | 0.366 | 0.366 | 1.447 | 1.553
2019-03-26 10:29:20+00:00 | BBF03 | 0.361 | 0.365 | 1.5 | 1.596
2023-03-20 08:35:00+00:00 | BBF03 | 0.352 | 0.355 | 1.483 | 1.596
2024-03-14 13:34:00+00:00 | BBF03 | 0.361 | 0.36 | 1.489 | 1.592
2019-03-26 09:34:00+00:00 | BBF04 | 0.363 | 0.36 | 1.413 | 1.56
2014-11-05 12:20:00+00:00 | BBF04 | 0.361 | 0.362 | 1.375 | 1.473
2024-03-18 07:53:00+00:00 | BBF04 | 0.359 | 0.365 | 1.394 | 1.471
2019-03-26 08:36:20+00:00 | BBF05 | 0.354 | 0.351 | 1.345 | 1.533
2022-03-24 08:52:00+00:00 | BBF05 | 0.356 | 0.359 | 1.383
In the future we might have more columns

## Lifetime - Design frequencies
Turbine | Reference | FA1 [Hz] | SS1 [Hz] | FA2 [Hz] | SS2 [Hz]
BBA01 | INFL | 0.3406 | 0.3407 | 1.0172 | 1.0186
BBA01 | ACTU | 0.333 | 0.3332 | 0.9619 | 0.9631
BBA01 | FLEX | 0.3254 | 0.3255 | 0.9019 | 0.903
BBA02 | INFL | 0.3415 | 0.3416 | 1.0241 | 1.0255
BBA02 | ACTU | 0.3359 | 0.336 | 0.9814 | 0.9827
BBA02 | FLEX | 0.3263 | 0.3264 | 0.9067 | 0.9078
BBA03 | INFL | 0.3424 | 0.3426 | 1.0355 | 1.037
BBA03 | ACTU | 0.337 | 0.3372 | 0.9945 | 0.9958
BBA03 | FLEX | 0.3265 | 0.3266 | 0.9138 | 0.9149
BBA04 | INFL | 0.339 | 0.3391 | 1.0145 | 1.0159
BBA04 | ACTU | 0.3341 | 0.3343 | 0.9789 | 0.9802
BBA04 | FLEX | 0.3251 | 0.3252 | 0.9076 | 0.9087
BBA05 | INFL | 0.3477 | 0.3478 | 1.0999 | 1.1016
BBA05 | ACTU | 0.3421 | 0.3422 | 1.0523 | 1.0538
BBA05 | FLEX | 0.333 | 0.3331 | 0.9745 | 0.9757
BBA06 | INFL | 0.3474 | 0.3476 | 1.1012 | 1.1029
BBA06 | ACTU | 0.3423 | 0.3424 | 1.0578 | 1.0593
BBA06 | FLEX | 0.3342 | 0.3343 | 0.9857 | 0.987
BBA07 | INFL | 0.344 | 0.3442 | 1.0714 | 1.073
BBA07 | ACTU | 0.339 | 0.3392 | 1.0301 | 1.0315
BBA07 | FLEX | 0.3297 | 0.3298 | 0.9499 | 0.9511
BBA08 | INFL | 0.3411 | 0.3412 | 1.0282 | 1.0296
BBA08 | ACTU | 0.3354 | 0.3355 | 0.987 | 0.9883
BBA08 | FLEX | 0.3263 | 0.3264 | 0.9172 | 0.9183
BBA09 | INFL | 0.3339 | 0.334 | 0.9745 | 0.9758
BBA09 | ACTU | 0.3309 | 0.331 | 0.9524 | 0.9536
BBA09 | FLEX | 0.3247 | 0.3248 | 0.899 | 0.9001
BBA10 | INFL | 0.3366 | 0.3368 | 0.9827 | 0.984
BBA10 | ACTU | 0.3324 | 0.3326 | 0.949 | 0.9502
BBA10 | FLEX | 0.3234 | 0.3235 | 0.8746 | 0.8756
BBB01 | INFL | 0.3528 | 0.353 | 1.139 | 1.1408
BBB01 | ACTU | 0.35 | 0.3501 | 1.1106 | 1.1123
BBB01 | FLEX | 0.3329 | 0.3331 | 0.9597 | 0.9608
BBB02 | INFL | 0.3556 | 0.3558 | 1.1669 | 1.1688
BBB02 | ACTU | 0.3519 | 0.3521 | 1.1288 | 1.1306
BBB02 | FLEX | 0.3317 | 0.3318 | 0.953 | 0.9541
BBB03 | INFL | 0.3514 | 0.3515 | 1.1264 | 1.1282
BBB03 | ACTU | 0.3423 | 0.3425 | 1.046 | 1.0475
BBB03 | FLEX | 0.3321 | 0.3322 | 0.9607 | 0.9619
BBB04 | INFL | 0.3513 | 0.3515 | 1.1308 | 1.1326
BBB04 | ACTU | 0.3475 | 0.3477 | 1.0963 | 1.0979
BBB04 | FLEX | 0.3296 | 0.3298 | 0.953 | 0.9542
BBB05 | INFL | 0.3533 | 0.3534 | 1.1704 | 1.1724
BBB05 | ACTU | 0.3479 | 0.348 | 1.119 | 1.1207
BBB05 | FLEX | 0.3342 | 0.3344 | 1.0006 | 1.0019
BBB06 | INFL | 0.3566 | 0.3568 | 1.2417 | 1.244
BBB06 | ACTU | 0.3471 | 0.3473 | 1.1469 | 1.1488
BBB06 | FLEX | 0.3378 | 0.338 | 1.0605 | 1.062
BBB07 | INFL | 0.356 | 0.3562 | 1.234 | 1.2362
BBB07 | ACTU | 0.3507 | 0.3508 | 1.18 | 1.182
BBB07 | FLEX | 0.3407 | 0.3409 | 1.0844 | 1.0861
BBB08 | INFL | 0.3488 | 0.349 | 1.1334 | 1.1352
BBB08 | ACTU | 0.3428 | 0.3429 | 1.0814 | 1.083
BBB08 | FLEX | 0.3331 | 0.3332 | 0.9984 | 0.9997
BBB09 | INFL | 0.3437 | 0.3438 | 1.0661 | 1.0677
BBB09 | ACTU | 0.338 | 0.3381 | 1.0212 | 1.0226
BBB09 | FLEX | 0.3288 | 0.3289 | 0.9459 | 0.947
BBB10 | INFL | 0.3384 | 0.3385 | 1.0111 | 1.0124
BBB10 | ACTU | 0.3337 | 0.3338 | 0.9764 | 0.9776
BBB10 | FLEX | 0.3246 | 0.3247 | 0.9047 | 0.9058
BBC01 | INFL | 0.3565 | 0.3567 | 1.2024 | 1.2044
BBC01 | ACTU | 0.3456 | 0.3457 | 1.0932 | 1.0949
BBC01 | FLEX | 0.3369 | 0.3371 | 1.0124 | 1.0138
BBC02 | INFL | 0.3499 | 0.3501 | 1.1143 | 1.116
BBC02 | ACTU | 0.3438 | 0.3439 | 1.0587 | 1.0602
BBC02 | FLEX | 0.3353 | 0.3355 | 0.9826 | 0.9838
BBC03 | INFL | 0.3525 | 0.3527 | 1.159 | 1.1608
BBC03 | ACTU | 0.347 | 0.3471 | 1.1042 | 1.1059
BBC03 | FLEX | 0.3367 | 0.3368 | 1.0087 | 1.01
BBC04 | INFL | 0.3632 | 0.3634 | 1.2884 | 1.2908
BBC04 | ACTU | 0.3525 | 0.3527 | 1.1666 | 1.1685
BBC04 | FLEX | 0.3373 | 0.3375 | 1.0254 | 1.0268
BBC05 | INFL | 0.358 | 0.3581 | 1.2555 | 1.2578
BBC05 | ACTU | 0.3503 | 0.3504 | 1.1748 | 1.1768
BBC05 | FLEX | 0.3389 | 0.339 | 1.0672 | 1.0688
BBC06 | INFL | 0.3665 | 0.3667 | 1.3551 | 1.358
BBC06 | ACTU | 0.3634 | 0.3636 | 1.3166 | 1.3193
BBC06 | FLEX | 0.3399 | 0.3401 | 1.0738 | 1.0754
BBC07 | INFL | 0.3602 | 0.3604 | 1.2809 | 1.2834
BBC07 | ACTU | 0.3577 | 0.3579 | 1.252 | 1.2543
BBC07 | FLEX | 0.3384 | 0.3386 | 1.0612 | 1.0628
BBC08 | INFL | 0.3552 | 0.3554 | 1.2228 | 1.225
BBC08 | ACTU | 0.3503 | 0.3504 | 1.1723 | 1.1743
BBC08 | FLEX | 0.3412 | 0.3414 | 1.0836 | 1.0852
BBC09 | INFL | 0.3531 | 0.3533 | 1.1827 | 1.1847
BBC09 | ACTU | 0.3476 | 0.3477 | 1.1294 | 1.1312
BBC09 | FLEX | 0.3385 | 0.3387 | 1.0449 | 1.0464
BBC10 | INFL | 0.3497 | 0.3498 | 1.1408 | 1.1426
BBC10 | ACTU | 0.3443 | 0.3445 | 1.0929 | 1.0946
BBC10 | FLEX | 0.336 | 0.3361 | 1.0165 | 1.0178
BBD01 | INFL | 0.3659 | 0.3661 | 1.3233 | 1.3259
BBD01 | ACTU | 0.3589 | 0.3591 | 1.2363 | 1.2385
BBD01 | FLEX | 0.3392 | 0.3393 | 1.0382 | 1.0397
BBD02 | INFL | 0.3601 | 0.3602 | 1.2494 | 1.2516
BBD02 | ACTU | 0.3514 | 0.3516 | 1.1551 | 1.157
BBD02 | FLEX | 0.3386 | 0.3387 | 1.0333 | 1.0347
BBD03 | INFL | 0.3613 | 0.3615 | 1.2602 | 1.2625
BBD03 | ACTU | 0.3587 | 0.3589 | 1.2295 | 1.2316
BBD03 | FLEX | 0.3363 | 0.3364 | 1.0126 | 1.0139
BBD04 | INFL | 0.3719 | 0.3721 | 1.4375 | 1.4408
BBD04 | ACTU | 0.3605 | 0.3607 | 1.2924 | 1.2949
BBD04 | FLEX | 0.35 | 0.3501 | 1.1807 | 1.1827
BBD05 | INFL | 0.364 | 0.3642 | 1.3283 | 1.3311
BBD05 | ACTU | 0.3514 | 0.3516 | 1.1874 | 1.1895
BBD05 | FLEX | 0.3421 | 0.3422 | 1.0948 | 1.0965
BBD06 | INFL | 0.3542 | 0.3543 | 1.1936 | 1.1957
BBD06 | ACTU | 0.3464 | 0.3465 | 1.1177 | 1.1194
BBD06 | FLEX | 0.3356 | 0.3358 | 1.021 | 1.0224
BBD07 | INFL | 0.3625 | 0.3627 | 1.279 | 1.2815
BBD07 | ACTU | 0.3535 | 0.3537 | 1.1799 | 1.1819
BBD07 | FLEX | 0.3319 | 0.332 | 0.9939 | 0.9953
BBD08 | INFL | 0.3667 | 0.3669 | 1.337 | 1.3398
BBD08 | ACTU | 0.3502 | 0.3504 | 1.1545 | 1.1564
BBD08 | FLEX | 0.3353 | 0.3354 | 1.024 | 1.0254
BBD09 | INFL | 0.3721 | 0.3723 | 1.4385 | 1.4419
BBD09 | ACTU | 0.3664 | 0.3666 | 1.3604 | 1.3633
BBD09 | FLEX | 0.344 | 0.3441 | 1.1169 | 1.1186
BBD10 | INFL | 0.3608 | 0.361 | 1.2612 | 1.2635
BBD10 | ACTU | 0.3544 | 0.3546 | 1.1914 | 1.1934
BBD10 | FLEX | 0.3377 | 0.3378 | 1.0366 | 1.0381
BBE01 | INFL | 0.3456 | 0.3457 | 1.0187 | 1.02
BBE01 | ACTU | 0.34 | 0.3401 | 0.9768 | 0.9781
BBE01 | FLEX | 0.3233 | 0.3234 | 0.8623 | 0.8633
BBE02 | INFL | 0.3485 | 0.3487 | 1.0441 | 1.0455
BBE02 | ACTU | 0.3416 | 0.3417 | 0.9901 | 0.9913
BBE02 | FLEX | 0.3246 | 0.3247 | 0.8736 | 0.8746
BBE03 | INFL | 0.3513 | 0.3515 | 1.1207 | 1.1224
BBE03 | ACTU | 0.3347 | 0.3348 | 0.9841 | 0.9854
BBE03 | FLEX | 0.3248 | 0.3249 | 0.9077 | 0.9087
BBE04 | INFL | 0.35 | 0.3502 | 1.093 | 1.0946
BBE04 | ACTU | 0.3437 | 0.3438 | 1.0366 | 1.038
BBE04 | FLEX | 0.3236 | 0.3237 | 0.8807 | 0.8817
BBE05 | INFL | 0.3514 | 0.3515 | 1.1358 | 1.1376
BBE05 | ACTU | 0.3427 | 0.3428 | 1.0572 | 1.0587
BBE05 | FLEX | 0.3309 | 0.3311 | 0.9579 | 0.9591
BBE06 | INFL | 0.3626 | 0.3627 | 1.2829 | 1.2854
BBE06 | ACTU | 0.3565 | 0.3566 | 1.2152 | 1.2174
BBE06 | FLEX | 0.3374 | 0.3375 | 1.0379 | 1.0394
BBE07 | INFL | 0.3669 | 0.3671 | 1.3626 | 1.3655
BBE07 | ACTU | 0.3584 | 0.3586 | 1.2573 | 1.2597
BBE07 | FLEX | 0.3424 | 0.3426 | 1.0948 | 1.0965
BBE08 | INFL | 0.3652 | 0.3654 | 1.3223 | 1.325
BBE08 | ACTU | 0.3478 | 0.348 | 1.1336 | 1.1355
BBE08 | FLEX | 0.3404 | 0.3406 | 1.0627 | 1.0643
BBE09 | INFL | 0.3631 | 0.3633 | 1.3219 | 1.3246
BBE09 | ACTU | 0.3545 | 0.3546 | 1.2236 | 1.2258
BBE09 | FLEX | 0.3423 | 0.3425 | 1.1021 | 1.1037
BBE10 | INFL | 0.365 | 0.3652 | 1.3394 | 1.3422
BBE10 | ACTU | 0.353 | 0.3532 | 1.2017 | 1.2039
BBE10 | FLEX | 0.3417 | 0.3418 | 1.0906 | 1.0923
BBF01 | INFL | 0.3406 | 0.3407 | 1.0108 | 1.0121
BBF01 | ACTU | 0.3358 | 0.336 | 0.9729 | 0.9741
BBF01 | FLEX | 0.3246 | 0.3247 | 0.8857 | 0.8867
BBF02 | INFL | 0.3589 | 0.3591 | 1.2057 | 1.2077
BBF02 | ACTU | 0.3443 | 0.3445 | 1.057 | 1.0585
BBF02 | FLEX | 0.3343 | 0.3345 | 0.9685 | 0.9697
BBF03 | INFL | 0.3612 | 0.3614 | 1.2311 | 1.2332
BBF03 | ACTU | 0.3576 | 0.3578 | 1.1899 | 1.1919
BBF03 | FLEX | 0.3357 | 0.3358 | 0.9797 | 0.9809
BBF04 | INFL | 0.3494 | 0.3495 | 1.094 | 1.0956
BBF04 | ACTU | 0.3422 | 0.3423 | 1.0293 | 1.0307
BBF04 | FLEX | 0.3314 | 0.3315 | 0.9375 | 0.9386
BBF05 | INFL | 0.3441 | 0.3442 | 1.0462 | 1.0476
BBF05 | ACTU | 0.3369 | 0.3371 | 0.99 | 0.9913
BBF05 | FLEX | 0.3232 | 0.3233 | 0.8908 | 0.8918

## Results - reference
Title | Description | Template | Activates
wind_histogram_{$SITE} | Wind histogram as measured or from design | OWI-Metadatabase_required_data.xlsx | "Lifetime- Wind Histogram"